## Sheet1
Certificate of QUALIFICATION of an external employee
The Royal Decree of 30 November 2011 on “Safety regulations for nuclear power installations” states that all employees who perform tasks that are significant for nuclear safety must be properly trained and qualified.
As managers of the Doel and Tihange nuclear power plants, we must verify that the employees of our subcontractors fulfil these requirements as well.
We therefore ask you to submit for your employees who will perform these tasks an individual "qualification certificate" in which you declare that they possess the competencies as defined by us.
You must submit the certificate to the site concerned, via the principal, before starting the works.
Any questions? Then contact the Contractor Management of the site concerned.
Kerncentrale Doel: | contractormanagementkcd@gdfsuez.com
Centrale Nucleaire de Tihange: | contractormanagementcnt@electrabel.com
Prepare certificate
Consult skills sheets

## certificate
Skills sheet no.
Order no.
Contract no.
ELE 1 - Electrician - basic
| KERNCENTRALE DOEL |  | CENTRALE NUCLEAIRE DE TIHANGE |  |  | ELE 2 - Electrician - advanced
| HAVEN 1801 |  | Avenue de l’Industrie 1 |  |  | ELE 3 - Electrician - low-current measurement
| SCHELDEMOLENSTRAAT |  | B-4500 TIHANGE |  |  | ELE 4 - Electrician - transformer
| B-9130 DOEL |  |  |  |  | ELE 5- Electrician - generator
| contractormanagementkcd@gdfsuez.com |  | contractormanagementcnt@electrabel.com |  |  | ELE 6 - Electrical engineer - lifting equipment
ELE 7 - Electrician - regulation and control systems
ELE 8 - Automation technician
Certificate of QUALIFICATION of an external employee | [5 empty] | INS 1 - Instrumentation - basic
INS 2 - Instrumentation - advanced
I the undersigned |  |  | representing the company |  |  | INS 3 - Radiation protection instrumentation
hereby certify that Mr/Mrs. |  |  |  |  | date of birth: | INS 4 - Process IT
is an employee of my company and has the required skills, as described below, to carry out the work required. | [5 empty] | INS 5 - Instrumentation - standard
INS 6 - Instrumentation - specialist
INS 7 - Instrument technician - internal and external nuclear instrumentation
Period of validity of this certificate: 5 years from the date of signature | [5 empty] | INS 8 - Instrumentation - chemical gas measurements
INS 9 - Cable technician - instrumentation standard
INS 10 - Cable technician - instrumentation specialist
INS 11 - Cable layer
Skills as described in the skills sheet, order or contract mentioned below | [5 empty] | MEC 1 - Mechanic - basic
MEC 2 - Mechanic - advanced
MEC 3 - Mechanic - lubrication
MEC 4 - Structural engineering - basic
MEC 5 - Structural engineering - advanced
MEC 6 - Mechanic - screw fastening
MEC 7 - Mechanic - static machinery
MEC 8 - Mechanic - boiler and fuel-oil burner
MEC 9 - Mechanic - vessel opening
MEC 10 - Mechanic - sealing
I undertake to notify the site concerned if there is any change in the information concerning this employee. | [5 empty] | MEC 11 - Mechanic - industrial cleaning using a high-pressure cleaner
MEC 12 - Advanced mechanic - valves
MEC 13 - Advanced mechanic - rotating machinery/pumps
MEC 14 - Advanced mechanic - turbine
|  | Name of company) accepts that an audit may be carried out to verify |  |  |  | MEC 15 - Advanced mechanic - diesel engine
the correctness of this declaration. | [5 empty] | MEC 16 - Turner/miller
MEC 17 - Mechanic - CRP (primary cooling circuit) manager
MEC 18 - Mechanic - SG (steam generator) maintenance
Based on: | [5 empty] | MEC 19- Advanced mechanic - primary pump maintenance
| Ø Declaration(s) of skills, and diploma(s) obtained |  |  |  |  | MEC 20 - Mechanic - Sébim valve
| Ø Work experience or level of training |  |  |  |  | MEC 21 - Pipe fitter
| Ø Training course(s) followed |  |  |  |  | MEC 22 - Hydraulics and pneumatics
MEC 23 - Metal construction
MEC 24 - Bridge-crane mechanic
MEC 25 - Structural engineering - concreting
MEC 26 - Structural engineering - concreting - specialist
Company representative |  |  |  | Place and date |  | MEC 27 - Pipe fitter advanced
DIV 1 - Fuel
DIV 2 - Decontamination
DIV 3 - Confined-space surveillance officer
DIV 4 - Fire-resistant passages
DIV 5 - Fire officer
DIV 6 - Fire technician
Certificate to be returned to the site before work starts through the taskmaster | [5 empty] | DIV 7 - Fire detection/protection
DIV 8 - SG jumper
DIV 9 - General maintenance
DIV 10 - Mechanic - lifting
DIV 11 - Fire-door installer
DIV 12 - Slinger
DIV 13 - Crane operator
DIV 14 - Crane operator - polar crane
DIV 15 - Crane operator - machine room crane
DIV 16 - Crane operator - pump station crane
DIV 17 - SRP technician
DIV 18 - FME surveillance officer
DIV 19 - Laundry
DIV 20 - Warehouse manager
DIV 21 - Painter
DIV 22 - Draughtsman
DIV 23 - Insulation fitter
DIV 24 - Battery
DIV 25 - Welder
DIV 26 - Basic scaffolding
DIV 27 - Advanced scaffolding
DIV 28 - Refrigeration engineer - basic
DIV 29 - Refrigeration engineer - advanced
DIV 30 - Works on PVC liners
DIV 31 - Processing technician - fireproof plates
DIV 32 - Non-destructive testing technician
DIV 33 - Filter tester
DIV 34 - Fire-damper installer
DIV 35 - Load handling
DIV 36 - Brazer
DIV 37 - Draughtsman - special techniques
DIV 38 - Fitter - wall insulation/panelling
DIV 39 - Diver
DIV 40 - Industrial cleaner using a high-pressure cleaner
DIV 41 - Fire-resistant passages advanced
Note on B31: Choose an item
Note on E31: Select your skills sheet if applicable or note the number of your order or contract
Back
Consult skills sheets

## List sheets
Select the number of the skills sheet you wish to consult:
ELE 1 | Electrician - basic
ELE 2 | Electrician - advanced
ELE 3 | Electrician - low-current measurement
ELE 4 | Electrician - transformer
ELE 5 | Electrician - generator
ELE 6 | Electrical engineer - lifting equipment
ELE 7 | Electrician - regulation and control systems
ELE 8 | Automation technician
INS 1 | Instrumentation - basic
INS 2 | Instrumentation - advanced
INS 3 | Radiation protection instrumentation
INS 4 | Process IT
INS 5 | Instrumentation - standard
INS 6 | Instrumentation - specialist
INS 7 | Instrument technician - internal and external nuclear instrumentation
INS 8 | Instrumentation - chemical gas measurements
INS 9 | Cable technician - instrumentation standard
INS 10 | Cable technician - instrumentation specialist
INS 11 | Cable layer
MEC 1 | Mechanic - basic
MEC 2 | Mechanic - advanced
MEC 3 | Mechanic - lubrication
MEC 4 | Structural engineering - basic
MEC 5 | Structural engineering - advanced
MEC 6 | Mechanic - screw fastening
MEC 7 | Mechanic - static machinery
MEC 8 | Mechanic - boiler and fuel-oil burner
MEC 9 | Mechanic - vessel opening
MEC 10 | Mechanic - sealing
MEC 11 | Mechanic - industrial cleaning using a high-pressure cleaner
MEC 12 | Advanced mechanic - valves
MEC 13 | Advanced mechanic - rotating machinery/pumps
MEC 14 | Advanced mechanic - turbine
MEC 15 | Advanced mechanic - diesel engine
MEC 16 | Turner/miller
MEC 17 | Mechanic - CRP (primary cooling circuit) manager
MEC 18 | Mechanic - SG (steam generator) maintenance
MEC 19 | Advanced mechanic - primary pump maintenance
MEC 20 | Mechanic - Sébim valve
MEC 21 | Pipe fitter
MEC 22 | Hydraulics and pneumatics
MEC 23 | Metal construction
MEC 24 | Bridge-crane mechanic
MEC 25 | Structural engineering - concreting
MEC 26 | Structural engineering - concreting - specialist
MEC 27 | Pipe fitter advanced
DIV 1 | Fuel
DIV 2 | Decontamination
DIV 3 | Confined-space surveillance officer
DIV 4 | Fire-resistant passages
DIV 5 | Fire officer
DIV 6 | Fire technician
DIV 7 | Fire detection/protection
DIV 8 | SG jumper
DIV 9 | General maintenance
DIV 10 | Mechanic - lifting
DIV 11 | Fire-door installer
DIV 12 | Slinger
DIV 13 | Crane operator
DIV 14 | Crane operator - polar crane
DIV 15 | Crane operator - machine room crane
DIV 16 | Crane operator - pump station crane
DIV 17 | SRP technician
DIV 18 | FME surveillance officer
DIV 19 | Laundry
DIV 20 | Warehouse manager
DIV 21 | Painter
DIV 22 | Draughtsman
DIV 23 | Insulation fitter
DIV 24 | Battery
DIV 25 | Welder
DIV 26 | Basic scaffolding
DIV 27 | Advanced scaffolding
DIV 28 | Refrigeration engineer - basic
DIV 29 | Refrigeration engineer - advanced
DIV 30 | Works on PVC liners
DIV 31 | Processing technician - fireproof plates
DIV 32 | Non-destructive testing technician
DIV 33 | Filter tester
DIV 34 | Fire-damper installer
DIV 35 | Load handling
DIV 36 | Brazer
DIV 37 | Draughtsman - special techniques
DIV 38 | Fitter - wall insulation/panelling
DIV 39 | Diver
DIV 40 | Industrial cleaner using a high-pressure cleaner
DIV 41 | Fire-resistant passages advanced
Prepare certificate
Back

## ELE 1
ELE 1 Electrician - basic
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Prepare certificate
Consult skills sheet
Back

## ELE 2
ELE 2 Electrician - advanced
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Advanced electricity
Understand and explain the operation of a protection relay, with its connection and programming
Explain the operation of equipment in detail
Use the equipment (start, operate, stop, emergency stop)
Perform tests and maintenance of equipment
Design, commission and maintain a communication architecture
Explain the basic principles of engines
Understand the purpose of engine safety features
Be able to check and test an engine
Prepare certificate
Consult skills sheet
Back

## ELE 3
ELE 3 Electrician - low-current measurement
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Electricity - low-current measurement
Understand and explain the methods for measuring low current/high impedance
Identify the main types of faults (interactions, interference and noise) and know the practical ways to address them ("cabling, shielding, guarding")
Understand and explain the specifications of low-current measuring equipment and their limitations
Prepare certificate
Consult skills sheet
Back

## ELE 4
ELE 4 Electrician - transformer
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Electricity (transformer)
Be able to diagnose the condition of transformers based on the oil and gas analysis
Distinguish the specific characteristics, tests and safety features of power transformers
Know about the rules to be followed for transformer maintenance
Prepare certificate
Consult skills sheet
Back

## ELE 5
ELE 5 Electrician - generator
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Generator
Be aware of the principle of generator control and the resources available
Interpret block circuit diagrams and intervene in the hardware
Understand the different operating modes of a generator
Prepare certificate
Consult skills sheet
Back

## ELE 6
ELE 6 Electrical engineer - lifting equipment
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Electrical engineer - lifting equipment
Hold a pendant control bridge-crane operator certificate
Have a knowledge of hoist and bridge-crane safety features
Be able to operate brakes manually for testing
Be able to adjust limit switches
Adjust slip clutches/brakes on hoists and bridge cranes
Have a basic knowledge of different lifting equipment
Prepare certificate
Consult skills sheet
Back

## ELE 7
ELE 7 Electrician - regulation and control systems
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Electrician - regulation and control systems
Know about the operation and application of protection relays
Know about the operation of inverters and rectifiers, have a knowledge of power electronics
Know about the principle of generator control, excitation controls and speed control
Have a knowledge of PLC technologies
Prepare certificate
Consult skills sheet
Back

## ELE 8
ELE 8 Automation technician
Electrician - basic
Have a basic knowledge of electrical measurement techniques (voltage, current, impedance and insulation resistance measurements)
Have a basic knowledge of the 5 golden rules and be BA4/BA5-certified
Be able to carry out cabling works in accordance with established guidelines
Perform failure analysis and replace faulty parts (electrical and mechanical)
Have a basic knowledge of electrical machinery and installation techniques
Complete intervention documents and draw up an implementation report
Basic automation
Read plans and perform measurements
Assemble, disassemble and commission equipment containing electronic components
Be able to use a PC
Understand and be able to repair automated systems featuring programmable logic controllers or microprocessors
Be able to diagnose and understand the cause of faults
Prepare an intervention (repair or periodic maintenance)
Be familiar with the interface and software used to communicate with the automatic controller, the AC/DC transformers and the screens
Be able to configure the various components of control loops (sensors, transmitters, controllers, actuators, servomotors, etc.)
Be familiar with operational tests and tests for identifying faults
Replace worn parts
Recognise circumstances requiring decommissioning
Perform programming
Prepare certificate
Consult skills sheet
Back

## INS 1
INS 1 Instrumentation - basic
Basic instrumentation
Control and optimise the PID parameters of a control loop
Define the principle for measuring a physical quantity
Explain the limitations and installation of a measuring system
Distinguish between sensors and determine the choice of sensor technology
Install sensors so as to guarantee the accuracy and reliability of measurements
Control and diagnose sensors
Interpret measurements
Calibrate the device
Explain the phenomenon of 'troubleshooting'
Understand how the system operates and so ensure its correct functioning and first-line maintenance
Use cabling diagrams and operating documents
Analyse all defects and repair the equipment
Where necessary, study small modifications to the equipment
Visualise local controls
Prepare certificate
Consult skills sheet
Back

## INS 2
INS 2 Instrumentation - advanced
Basic instrumentation
Control and optimise the PID parameters of a control loop
Define the principle for measuring a physical quantity
Explain the limitations and installation of a measuring system
Distinguish between sensors and determine the choice of sensor technology
Install sensors so as to guarantee the accuracy and reliability of measurements
Control and diagnose sensors
Interpret measurements
Calibrate the device
Explain the phenomenon of 'troubleshooting'
Understand how the system operates and so ensure its correct functioning and first-line maintenance
Use cabling diagrams and operating documents
Analyse all defects and repair the equipment
Where necessary, study small modifications to the equipment
Visualise local controls
Advanced instrumentation
Set up local networks
Be able to calibrate transmitters
Master the operating principles, coding and QA rules of transmitters and know about the different components, connection techniques and calibration methods
Prepare certificate
Consult skills sheet
Back

## INS 3
INS 3 Radiation protection instrumentation
Radiation protection instrumentation
Be able to use and manage IPM9 portals
Be able to use and manage C2 portals
Be able to explain the operating principle of a CRS Victoreen chain
Be able to explain the operating principle of a radiation measuring circuit
Be able to enter and check parameters of a CRS Victoreen chain
Prepare certificate
Consult skills sheet
Back

## INS 4
INS 4 Process IT
Process computing
Have a due understanding of the operating principle of tag measurement.
Perform a failure diagnosis on a tag, be capable of replacing and configuring the tag.
Have a basic knowledge (rudiments) of the use of Dosiview, Dosimas, Dosical.
Have a due understanding of the principle of an RIC chain.
Being able to interpret drawings and plans used during operations.
Have a due understanding of the operating principle of an acquisition chain and the architecture of a computer.
Be capable of replacing a card and rebooting the system.
RIC: Being able to use the software and to perform a diagnosis using that software.
OBVIEWS: Be familiar with the operating principle of the database and imaging.
Being able to use the PI Data Link software.
Have a due understanding of the operating principle of the CNT access systems.
Perform a failure diagnosis and conduct the troubleshooting within the scope of the required skills.
Replace defective equipment.
Being able to manage the operation (write an operation report, summarise the operation, disseminate the operation).
Prepare certificate
Consult skills sheet
Back

## INS 5
Sheet INS 5 Instrumentation - standard
Instrumentation - standard
Have basic knowledge of measurement, control and operational techniques (voltage, current, resistance, pressure, flow, temperature, etc.)
Use measurement instruments and interpret the results
Interpret and apply technical documents (e.g. cabling diagrams, procedures, plans)
Complete intervention documents and draw up an implementation report
Report to the site manager (orally or in writing)
Perform first-line maintenance in accordance with the designated procedures
Perform failure analysis and replace faulty parts
Assist with and/or perform tests on instrumentation circuits
Prepare certificate
Consult skills sheet
Back

## INS 6
Sheet INS 6 Instrumentation - specialist
Instrumentation - standard
Have basic knowledge of measurement, control and operational techniques (voltage, current, resistance, pressure, flow, temperature, etc.)
Use measurement instruments and interpret the results
Interpret and apply technical documents (e.g. cabling diagrams, procedures, plans)
Complete intervention documents and draw up an implementation report
Report to the site manager (orally or in writing)
Perform first-line maintenance in accordance with the designated procedures
Perform failure analysis and replace faulty parts
Assist with and/or perform tests on instrumentation circuits
Instrumentation - specialist
Read and interpret locking diagrams. Have knowledge of PLC technologies and electrical & electronic circuits
Amend cabling diagrams and operating documents in consultation with others
Analyse defects and suggest solutions
Look into minor modifications to the facility
Prepare certificate
Consult skills sheet
Back

## INS 7
Sheet INS 7 Instrument technician - internal and external nuclear instrumentation
Instrument technician - internal and external nuclear instrumentation
Use measurement instruments and interpret the results
Read, understand and use technical documents (procedures, instructions, plans)
Carry out specialist maintenance in accordance with the designated procedures, e.g. tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.
Use the various assembly technologies correctly (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Report to the site manager (orally or in writing)
Identify and be able to name the different types of mechanical and electrical components
Make a diagnosis in the event that mechanical or electrical components fail
Have three years' specialist experience in internal and external nuclear instrumentation
Prepare certificate
Consult skills sheet
Back

## INS 8
Sheet INS 8 Instrumentation - chemical gas measurements
Instrumentation - chemical gas measurements
Basic knowledge of chemical readings (e.g. pH, conductivity, etc.)
Basic knowledge of toxic gas measurements and explosion measurements
Be able to perform H2 and O2 analyses
Prepare certificate
Consult skills sheet
Back

## INS 9
Sheet INS 9 Cable technician - instrumentation (standard)
Cable technician - instrumentation (standard)
Be able to lay and terminate instrumentation cabling in accordance with the applicable guidelines
Be able to connect up junction boxes
Be able to adapt passages to existing cabling
Prepare certificate
Consult skills sheet
Back

## INS 10
Sheet INS 10 Cable technician - instrumentation (specialist)
Cable technician - instrumentation (standard)
Be able to lay and terminate instrumentation cabling in accordance with the applicable guidelines
Be able to connect up junction boxes
Be able to adapt passages to existing cabling
Cable technician - instrumentation (specialist)
Be able to connect QA plugs in accordance with applicable procedures (EGS, grayboot, etc.)
Prepare certificate
Consult skills sheet
Back

## INS 11
Sheet INS 11 Cable layer
Cable layer
Be able to lay electrical cables in accordance with the designated guidelines
Prepare certificate
Consult skills sheet
Back

## MEC 1
MEC 1 Mechanic - basic
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Prepare certificate
Consult skills sheet
Back

## MEC 2
MEC 2 Mechanic - advanced
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Be able to correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Prepare certificate
Consult skills sheet
Back

## MEC 3
MEC 3 Mechanic - lubrication
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - lubrication
Understand and explain the function and operation of different lubricants for use in different circumstances (bearing housing, bearing, stop, etc.)
Be able to identify the parts used to transmit movement (gear mechanism, belt, reducer, variator, etc.)
Identify and interpret simple criteria for selecting lubricants
Correctly apply lubricants during use, in particular on sliding bearings, bearings and gear systems
Be familiar with removal methods and be able to interpret an analysis certificate
Be aware of the correct way to handle and store lubricants
Prepare certificate
Consult skills sheet
Back

## MEC 4
MEC 4 Structural engineering - basic
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Basic structural engineering
Identify asbestos risks and be familiar with the instructions for using protective equipment in the presence of asbestos
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Carry out simple surveying
Organise the work area during the site preparation, assembly, disassembly and shutdown phases
Prepare certificate
Consult skills sheet
Back

## MEC 5
MEC 5 Structural engineering - advanced
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Basic structural engineering
Identify asbestos risks and be familiar with the instructions for using protective equipment in the presence of asbestos
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Carry out simple surveying
Organise the work area during the site preparation, assembly, disassembly and shutdown phases
Structural engineering
Be familiar with the products used to repair concrete and the conditions and limitations associated with their use
Explain the statutory inspections that apply to the various units, as well as the inspection methods used and the tests performed
Read and understand the technical inspections (BENOR)
Prepare certificate
Consult skills sheet
Back

## MEC 6
MEC 6 Mechanic - screw fastening
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - tightening screws
Be able to use a hydraulic screw machine safely (different connections, adjusting to the required pressure and torque)
Prepare certificate
Consult skills sheet
Back

## MEC 7
MEC 7 Mechanic - static machinery
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - static machinery
Explain how the equipment works
Be able to identify key equipment (identification of components, features, flange and gasket types)
Make diagnoses
Undertake curative maintenance of the equipment
Disassemble, inspect and reassemble an assembly using flanges
Fit a suitable gasket and secure it correctly
Prepare certificate
Consult skills sheet
Back

## MEC 8
MEC 8 Mechanic - boiler and fuel-oil burner
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - boiler and fuel-oil burner
Explain how a boiler and fuel-oil burner operate
Explain the various parts of a boiler
Be familiar with and be able to explain best practices for maintenance
Be able to repair and control a fuel-oil burner and undertake curative maintenance of a boiler
Prepare certificate
Consult skills sheet
Back

## MEC 9
MEC 9 Mechanic - vessel opening
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - vessel opening
Explain the connection between 'nuclear safety during maintenance works' and 'vessel opening'
Explain the operation and use of the MSDG in the various units
Use screwing equipment and be familiar with feedback for critical operations
Explain the importance of properly preparing equipment prior to shutdown and of requalification of the equipment afterwards
Explain the operation and use of the MSDG
Be familiar with the various stages of use, of the measurements to be performed and of the elements that make up the MSDG
Explain the risks during handling and recording of the checks to be carried out for installation and removal
Use screwing equipment and be familiar with feedback for critical operations
Be familiar with the order of stages in opening/closing the vessel and be able to anticipate the next steps based on the schedule
Prepare certificate
Consult skills sheet
Back

## MEC 10
MEC 10 Mechanic - sealing
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - sealing
In the case of delicate sealings, be able to identify the causes and make the right choices
Be able to perform sealing calculations
Prepare certificate
Consult skills sheet
Back

## MEC 11
MEC 11 Mechanic - industrial cleaning using a high-pressure cleaner
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - industrial cleaning using a high-pressure cleaner
Be able to read and apply instructions, operating instructions and procedures for pressure cleaning equipment, its supply (connection to water pipe) and in confined spaces
Be familiar with the equipment and be able to explain how it works
Know the risks involved in using the equipment and the associated safety rules and be able to apply the latter
Be able to check and clean the equipment (filters, oil level, etc.)
Inspect a high-pressure system
Prepare certificate
Consult skills sheet
Back

## MEC 12
MEC 12 Advanced mechanic - valves
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Mechanics - valves
Assemble, disassemble, repair and maintain valves (gate valves, plug valves, globe valves, non-return valves, safety valves, etc.)
Be able to recognise and explain (operating principle) different types of valve. Be able to name failure modes and solutions
Prepare certificate
Consult skills sheet
Back

## MEC 13
MEC 13 Advanced mechanic - rotating machinery/pumps
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Mechanics - pumps
Explain the theoretical concepts relating to alignment (coupling), know how to align and how to check a calibration
Explain the operating principle of a bearing and the problems associated with its use
Explain the risks posed by faulty alignment of rotating shafts
Prepare certificate
Consult skills sheet
Back

## MEC 14
MEC 14 Advanced mechanic - turbine
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Mechanics - turbine
Be able to explain the operation of a turbine and the reactions in accordance with the operating parameters
Be able to identify the different components
Explain the operating principle of a bearing and the problems associated with its use
Make diagnoses
Be able to undertake curative maintenance of high-power rotating machinery, in particular turbines, in accordance with standard practice
Be able to explain the importance of a turbine's operating conditions for efficiency and wear
Het belang van de werkingsomstandigheden van de turbine voor rendement en slijtage kunnen uitleggen
Prepare certificate
Consult skills sheet
Back

## MEC 15
MEC 15 Advanced mechanic - diesel engine
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Mechanics - diesel engine
Know and understand the operation of a diesel engine and its ancillary equipment
Be able to identify key equipment
Explain the operating principle of a bearing and the problems associated with its use
Make a diagnosis of correct operation
Undertake curative maintenance of the equipment
Be able to recognise and analyse problems with diesel engines and propose and implement the appropriate solutions
Prepare certificate
Consult skills sheet
Back

## MEC 16
MEC 16 Turner/miller
Turning/milling
Be able to read an isometric and hydraulic plan
Be able to carry out surveys on site, make diagrams and isometric drawings
Have a knowledge of materials science and machining techniques
Be familiar with the various assembly technologies (thread, flanges, bolts, wedges, fittings, etc.)
Be able to align/position the various components on machining equipment
Be able to carry out the specified machining work independently in accordance with the relevant procedure
Be familiar with measurement techniques (fittings, tolerances, roughness, etc.)
Prepare certificate
Consult skills sheet
Back

## MEC 17
MEC 17 Mechanic - CRP (primary cooling circuit) manager
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - CRP (primary cooling circuit) manager
Explain the importance of effective preparation of equipment prior to shutdown and of its requalification afterwards
Explain the operation of equipment components in the primary circuit (vessel, SG, GMPP, PZR, RIC)
Prepare certificate
Consult skills sheet
Back

## MEC 18
MEC 18 Mechanic - SG (steam generator) maintenance
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Mechanics - tightening screws
Be able to use a hydraulic screw machine safely (different connections, adjusting to the required pressure and torque)
Mechanics - SG maintenance
Be familiar with the main equipment
Be familiar with work on the SG (sludge lancing/mud drum)
Make diagnoses
Undertake curative maintenance of the SG
Prepare certificate
Consult skills sheet
Back

## MEC 19
MEC 19 Advanced mechanic - primary pump maintenance
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Advanced mechanics
Identify and be able to name the different types of mechanical components
Make a diagnosis in case of the failure of mechanical components
Correctly apply the prescribed lubricants to sliding bearings, bearings and gear systems
Know about different types of sealants and how to use them. Be able to create a seal correctly using the prescribed sealants (packing, filling, etc.)
Mechanics - primary pump
Be familiar with the specific features of a hydraulic and motorised primary pump
Make diagnoses
Undertake curative maintenance of a primary pump
Prepare certificate
Consult skills sheet
Back

## MEC 20
MEC 20 Mechanic - Sébim valve
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Sébim valve
Understand the operation of a Sébim valve
Be familiar with the key components
Make diagnoses
Undertake curative maintenance of a Sébim valve
Prepare certificate
Consult skills sheet
Back

## MEC 21
MEC 21 Pipe fitter
Pipe fitter
Be able to read an isometric and hydraulic plan
Be able to prepare (cut, grind, bend, thread) the various components (pipes, tubes, accessories)
Be able to carry out surveys on site and make diagrams and isometric drawings
Be able to assemble and connect the various components
Be able to align/position the various components
Be able to punch the various components
Prepare certificate
Consult skills sheet
Back

## MEC 22
MEC 22 Hydraulics and pneumatics
Hydraulics and pneumatics
Read and analyse an industrial hydraulic diagram enabling maintenance interventions on installations containing hydraulic control parts
Use a machine safely and contribute to its follow-up
Use pumps with a variable flow and accumulator circuits
Identify the specific features of proportional hydraulics
Recognise the different connections used and be able to make a judicious choice for a particular application
Fit the various connections and pipes safely
Perform adjustments on existing pneumatic equipment
Report to the site manager (orally or in writing)
Prepare certificate
Consult skills sheet
Back

## MEC 23
Sheet MEC 23 Metal construction
Metal construction
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Basic knowledge of measurement techniques
Be able to work with electrical equipment
Basic knowledge of fixing techniques for various materials
Have a basic knowledge of materials
Knowledge of positioning loads
Prepare certificate
Consult skills sheet
Back

## MEC 24
Sheet MEC 24 Bridge-crane mechanic
Bridge-crane mechanic
Be familiar with and able to assemble, dismantle and calibrate key bridge-crane components: motors, gearboxes, drums, brakes, imprellers, etc.
Be familiar with and able to perform recalibration techniques following adaptations to bridge-cranes: brake tests, functional tests and checks, inspection
Prepare certificate
Consult skills sheet
Back

## MEC 25
MEC 25 Structural engineering - concreting
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Basic structural engineering
Identify asbestos risks and be familiar with the instructions for using protective equipment in the presence of asbestos
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Carry out simple surveying
Organise the work area during the site preparation, assembly, disassembly and shutdown phases
Concreting
Be familiar with the products used to repair concrete and the conditions and limitations associated with their use
Have knowledge of the applicable guidelines and expectations in connection with anchoring products and techniques, and be able to apply them correctly.
Be familiar with and able to apply the relevant safety measures governing concreting
Prepare certificate
Consult skills sheet
Back

## MEC 26
MEC 26 Structural engineering - concreting - specialist
Basic mechanics
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use measuring instruments and interpret the results
Carry out basic maintenance (tighten bolts (using a torque wrench and hydraulic wrench), clean filters, lubricate bearings, regulate the tension of chains and belts, change oil, etc.)
Use the various assembly technologies (thread, flanges, bolts, wedges, etc.)
Have a basic knowledge of materials
Ensure perfect sealing. Disassemble and assemble flange connections
Report to the site manager (orally or in writing)
Basic structural engineering
Identify asbestos risks and be familiar with the instructions for using protective equipment in the presence of asbestos
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Carry out simple surveying
Organise the work area during the site preparation, assembly, disassembly and shutdown phases
Concreting
Be familiar with the products used to repair concrete and the conditions and limitations associated with their use
Have knowledge of the applicable guidelines and expectations in connection with anchoring products and techniques, and be able to apply them correctly.
Be familiar with and able to apply the relevant safety measures governing concreting
Concreting - specialist
Explain the statutory inspections that apply to the various units, as well as the inspection methods used and the tests performed
Read and understand the technical inspections (BENOR)
Be able to independently devise and apply a method of implementation, including selecting products, systems and techniques depending on the task required
Have knowledge of and be able to implement the various process requirements for performing and monitoring concreting in accordance with the applicable guidelines
Process-certification from the BCCA in respect of performing concreting
Prepare certificate
Consult skills sheet
Back

## MEC 27
MEC 27 Pipe fitter advanced
Pipe fitter
Be able to read an isometric and hydraulic plan
Be able to prepare (cut, grind, bend, thread) the various components (pipes, tubes, accessories)
Be able to carry out surveys on site and make diagrams and isometric drawings
Be able to assemble and connect the various components
Be able to align/position the various components
Be able to punch the various components
Advanced
Hold a certificate of competence in emergency extinguishing agents in order to serve as a fire surveillance officer
Prepare certificate
Consult skills sheet
Back

## DIV 1
DIV 1 Fuel
Fuel
Take all precautions and strictly apply all recommendations relating to the handling of core components and the safety of the facilities
Handle new and spent fuel using the loading and unloading machine
Understand the different functions of the fuel and the control assembly
Handle, load and unload transport containers
Prepare certificate
Consult skills sheet
Back

## DIV 2
DIV 2 Decontamination
Decontamination
Perform the correct actions to prevent the spread of contamination
Dress or undress a co-worker for an intervention in a specific radioactive environment
Help a co-worker to take off their specific protective clothing or equipment
Pack away used clothing and personal protective equipment
Prepare certificate
Consult skills sheet
Back

## DIV 3
DIV 3 Confined-space surveillance officer
Confined-space surveillance officer
Apply basic safety rules when supervising or working in a confined space
Understand the internal procedures and how to interpret the access permit for a confined space
Use all PPE and CPE required for a safe intervention
Use or help with the use of insulating breathing apparatus
Prepare certificate
Consult skills sheet
Back

## DIV 4
DIV 4 Fire-resistant passages
Fire-resistant passages
Select a method for making a fire-resistant passage
Identify and check the correct implementation of a fire-resistant passage
Understand and use factsheets on the integrity of fire-resistant passages
Use the checklists associated with the procedure
Prepare certificate
Consult skills sheet
Back

## DIV 5
DIV 5 Fire officer
Fire officer
Issue warning, raise the alarm
Use first intervention equipment to tackle an incipient fire
Be familiar with the various hot work permits
Have a knowledge of fire theory
Prepare certificate
Consult skills sheet
Back

## DIV 6
DIV 6 Fire technician
SRP technician
Limit radiation exposure thanks to information on the various measurement techniques for assessing risk
Implement an entry into the zone in accordance with standard practice and under supervision
Explain the following terms: fission and products, isotopes, radiation interaction
Differentiate between the various units in terms of radiation protection (RP)
Explain the various RP terms: radiation, surface contamination, atmospheric contamination, internal and external contamination, protective equipment, time/distance/shielding
Remove any source of contamination from the skin through fast and efficient decontamination (theoretical aspects)
Take steps with a view to physical decontamination (of RP workers), in collaboration with CBMT
Fire officer
Be familiar with key issues relating to the insurance company
Determine the prevention and protection equipment to be used to prevent a fire or explosion
Perform a risk analysis of the fire load at storage and handling locations, including from temporary situations on a worksite
Manage compliance with the risk analysis for storage and handling locations
Prepare certificate
Consult skills sheet
Back

## DIV 7
DIV 7 Fire detection/protection
SRP technician
Limit radiation exposure thanks to information on the various measurement techniques for assessing risk
Implement an entry into the zone in accordance with standard practice and under supervision
Explain the following terms: fission and products, isotopes, radiation interaction
Differentiate between the various units in terms of radiation protection (RP)
Explain the various RP terms: radiation, surface contamination, atmospheric contamination, internal and external contamination, protective equipment, time/distance/shielding
Remove any source of contamination from the skin through fast and efficient decontamination (theoretical aspects)
Take steps with a view to physical decontamination (of RP workers), in collaboration with CBMT
Fire detection/protection
Understand how fire detection and protection works
Prepare certificate
Consult skills sheet
Back

## DIV 8
DIV 8 SG jumper
SG jumper
Be familiar with the processes involved in opening a steam generator
Be able to explain the steps involved in opening a steam generator
Be able to remove and fit a perfectly sealed SG stop valve
Be up-to-date with SG Jumper training
Prepare certificate
Consult skills sheet
Back

## DIV 9
DIV 9 General maintenance
General maintenance
Use tools for moving heavy loads (hoist, lift truck, gangway)
Prepare certificate
Consult skills sheet
Back

## DIV 10
DIV 10 Mechanic - lifting
Mechanic - lifting
Have a basic knowledge of applicable standards for lifting equipment
Interpret and be able to assess the purport of reports on acceptance and checks, both from a legal and regulatory point of view and in relation to the advice of the authorised inspection agency
Be in possession of the crane operator's manual
Prepare certificate
Consult skills sheet
Back

## DIV 11
DIV 11 Fire-door installer
Fire-door installer
Install fire doors in accordance with regulations and essential requirements
Assess the quality of installation of a fire-resistant door
Prepare certificate
Consult skills sheet
Back

## DIV 12
DIV 12 Slinger
Slinger
Be in possession of the crane operator's manual
Acquire knowledge of lifting operations and use of the corresponding slings
Learn the various techniques for using slings
Develop safety reflexes
Prepare certificate
Consult skills sheet
Back

## DIV 13
DIV 13 Crane operator
Crane operator
Be familiar with crane operating instructions
Be up-to-date with cab crane and/or cable control and/or remote control training
Have knowledge of lifting operations and use of the corresponding slings
Master the different slinging techniques
Develop safety reflexes
Prepare certificate
Consult skills sheet
Back

## DIV 14
DIV 14 Crane operator - polar crane
Crane operator – polar crane
Be familiar with crane operating instructions
Be up-to-date with cab crane and remote-control crane training
Have knowledge of lifting operations and use of the corresponding slings
Master the different slinging techniques
Develop safety reflexes
Prepare certificate
Consult skills sheet
Back

## DIV 15
DIV 15 Crane operator - machine room crane
Crane operator – machine room crane
Be familiar with crane operating instructions
Be up-to-date with cab crane and remote-control crane training
Have knowledge of lifting operations and use of the corresponding slings
Master the different slinging techniques
Develop safety reflexes
Prepare certificate
Consult skills sheet
Back

## DIV 16
DIV 16 Crane operator - pump station crane
Crane operator – pump station crane
Be familiar with crane operating instructions
Be up-to-date with remote-control crane training
Have knowledge of lifting operations and use of the corresponding slings
Master the different slinging techniques
Develop safety reflexes
Prepare certificate
Consult skills sheet
Back

## DIV 17
DIV 17 SRP technician
SRP technician
Limit radiation exposure thanks to information on the various measurement techniques for assessing risk
Implement an entry into the zone in accordance with standard practice and under supervision
Explain the following terms: fission and products, isotopes, radiation interaction
Differentiate between the various units in terms of radiation protection (RP)
Explain the various RP terms: radiation, surface contamination, atmospheric contamination, internal and external contamination, protective equipment, time/distance/shielding
Remove any source of contamination from the skin through fast and efficient decontamination (theoretical aspects)
Take steps with a view to physical decontamination (of RP workers), in collaboration with CBMT
Prepare certificate
Consult skills sheet
Back

## DIV 18
DIV 18 FME surveillance officer
FME surveillance officer
Be aware of FME risks
Use the appropriate FME protection
Be aware of the attitude required in the event of an FME incident
Prepare certificate
Consult skills sheet
Back

## DIV 19
DIV 19 Laundry
Laundry
Be familiar with the work organisation in the laundry
Know and apply the operating instructions for machines in the laundry
Know the procedures for checking and maintaining respirators
Know and apply the procedures for sorting, cleaning and distributing laundry and other clothing components
Prepare certificate
Consult skills sheet
Back

## DIV 20
DIV 20 Warehouse manager
Crane operator
Be in possession of the crane operator's manual
Be up-to-date with cab crane and/or cable control and/or remote control training
Acquire knowledge of lifting operations and use of the corresponding slings
Learn the various techniques for using slings
Develop safety reflexes
Warehouse manager
Know the rules applying to the receipt of goods and the rules for incoming and outgoing goods in the warehouse
Know the rules applying to equipment labelling
Know the rules applying to outgoing components
Know the rules applying to storage of equipment in the warehouse
Prepare certificate
Consult skills sheet
Back

## DIV 21
DIV 21 Painter
Painter
Know how to prepare (or arrange preparation of) a worksite: scaffolding, ladders, protection, tables, etc.
Be able to recognise different substrates
Be able to correctly demarcate the worksite and protect the work environment and adjoining installations against splashes
Be able to following a strict procedure when preparing the substrate (brushing, sandblasting, hydrodynamic stripping)
Be able to select and use the products for preparation and finishing
Know the risks associated with solvent-based paints and the precautions to be taken
Prepare certificate
Consult skills sheet
Back

## DIV 22
DIV 22 Draughtsman
Draughtsman
Be able to read and understand drawings
Be familiar with the methods of graphic representation
Be able to record dimensions and outlines
Be familiar with the materials and machining methods used and the methods for indicating these on plans
Master AutoCAD design software (help functions, display control, entities, management of copies and basic properties, plan creation, blocks, images and external references, tools, management of drawings, printing)
Prepare certificate
Consult skills sheet
Back

## DIV 23
DIV 23 Insulator
Insulator
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Insulate pipes and simple equipment
Apply metal cladding to pipes, branch lines, brackets, simple equipment, etc.
Carry out simple surveying
Organise the work area during the site preparation, assembly, disassembly and shutdown phases
Prepare certificate
Consult skills sheet
Back

## DIV 24
DIV 24 Battery
Battery
Know about the composition of the most common types of battery
Rank batteries according to their use
Know and be able to interpret the information displayed on batteries
Be able to explain the influence of temperature on battery capacity and lifetime
Use batteries and the associated chargers and handle them safely
Detect and solve problems
Be able to perform and interpret a discharge test
Prepare certificate
Consult skills sheet
Back

## DIV 25
DIV 25 Welder
Welder
Successfully produce a test piece
Know the basic materials and their weldability
Identify laying and assembly techniques for sheet metal and pipes
Visually inspect the condition of welds and determine a repair process
Perform the planned welding in compliance with the process and with knowledge of the risks associated with the operations
Know the health and safety rules and the personal protective equipment to be used (ventilation, wearing of mask, gloves, clothing, shoes, etc.)
Know the qualification rules for welding and the validity limits of the procedure
Know the rules on validity, extension and renewal of certificates
Prepare certificate
Consult skills sheet
Back

## DIV 26
DIV 26 Basic scaffolding
Basic scaffolding
Have the skills needed to help erect and dismantle scaffolding in accordance with standard practice
Know and control the associated risks
Perform practical exercises on the erection and dismantling of scaffolding
Be able to (re-)assess risks on site, prior to intervention
Be able to assess accurately whether equipment is in a good state of repair and remove any components that are damaged, twisted, broken, crushed, etc.
Prepare certificate
Consult skills sheet
Back

## DIV 27
DIV 27 Advanced scaffolding
Basic scaffolding
Have the skills needed to help erect and dismantle scaffolding in accordance with standard practice
Know and control the associated risks
Perform practical exercises on the erection and dismantling of scaffolding
Be able to (re-)assess risks on site, prior to intervention
Be able to assess accurately whether equipment is in a good state of repair and remove any components that are damaged, twisted, broken, crushed, etc.
Advanced scaffolding
Be aware of utilities regulations and know how to demarcate the area
Be able to clear away and store equipment correctly without hindering the freedom of movement of third parties
Be able to demarcate storage areas
Be able to organise the working area
Use and comply with the equipment manufacturer's assembly instructions and the contractor's rules
Fit anchorages and fasteners as assembly progresses
Master the operations involved in assembling and disassembling the different types of scaffolding
Be able to communicate, report on and take appropriate measures to address hazardous situations
Assess the quality and resistance of anchorages and fasteners
Be able to check whether the assembly complies with the requirements of the job and/or the relevant stipulations
Prepare certificate
Consult skills sheet
Back

## DIV 28
DIV 28 Refrigeration engineer - basic
Refrigeration engineer - basic
Explain the physical aspects of refrigeration
Analyse the operation of a cooling system
Interpret a functional study of the components of a cooling circuit, its peripheral equipment and its control and safety devices
Draw up heat balance sheets for cold rooms and freezer rooms
Perform basic interventions to repair a cooling circuit (leak detection, topping up liquids, controls, diagnosing defects, etc.)
Use measuring instruments and be able to interpret the results
Compile an intervention report
Prepare certificate
Consult skills sheet
Back

## DIV 29
DIV 29 Refrigeration engineer - advanced
Refrigeration engineer - basic
Explain the physical aspects of refrigeration
Analyse the operation of a cooling system
Interpret a functional study of the components of a cooling circuit, its peripheral equipment and its control and safety devices
Draw up heat balance sheets for cold rooms and freezer rooms
Perform basic interventions to repair a cooling circuit (leak detection, topping up liquids, controls, diagnosing defects, etc.)
Use measuring instruments and be able to interpret the results
Compile an intervention report
Refrigeration engineer - advanced
Be able to read and interpret an oil analysis and react appropriately
Be able to calculate the required cooling performance for facilities up to 20 KW
Be able to design, choose and develop an adjustment system for each type of compressor
Be able to design, assemble and commission cooling systems of over 20 KW
Be able to explain the operating principles of a climate control and air conditioning system
Define and apply the following concepts in your work:
Heat, cold, sensible heat, latent heat, specific heat, internal heat energy and enthalpy. Material phase changes: water experiment, the phenomena of evaporation and condensation, their importance in refrigeration techniques
Heat and cold production: heat transfer media, heat capacity
Simplified study of heat transfer: conduction, convection, radiation
Practical applications: transfer in materials and walls
Exchangers and batteries: general facts, operating principle, calculations and examples
Theoretical study of gases: knowledge of gas properties
Prepare certificate
Consult skills sheet
Back

## DIV 30
Sheet DIV 30 Works on PVC liners
Works on PVC liners
Organise the workstation
Read, understand and use technical documents (procedures, instructions, plans)
Use monitoring instruments and interpret the results
Know how to prepare (or arrange preparation of) a worksite: scaffolding, ladders, protection, tables, etc.)
Use the various assembly technologies (PVC, welding, etc.)
Knowledge of how to prepare substrates, procedures for applying cladding, observing drying times, materials' compatibility
Have a basic knowledge of materials
Report to the site manager (orally or in writing)
Knowledge of the risks associated with working in confined spaces
Knowledge of the risks associated with using equipment and be able to implement applicable safety guidelines
Prepare certificate
Consult skills sheet
Back

## DIV 31
Sheet DIV 31 Processing technician - fireproof plates
Processing technician - fireproof plates
Installation of fireproof plates in accordance with the relevant standards and taking account of the key components
Assess how well fireproof plates have been installed
Knowledge of how to use and process accompanying finishing and fixing equipment
Have knowledge of and be able to ensure correct use of fireproof equipment (hoisting, storage, etc.)
Prepare certificate
Consult skills sheet
Back

## DIV 32
DIV 32 Non-destructive testing technician
Non-destructive testing
After completion of the training, the participant will be able to master the basics of the different types of non-destructive testing
Prepare certificate
Consult skills sheet
Back

## DIV 33
DIV 33 Filter tester
Filter tester
Be able to perform a check on the alignment of a ventilation system and a visual inspection (serial no., filters, positioning, etc.) of a filter
Be able to perform a flow and relative humidity measurement
Be able to create an iodine source (I131)
Be able to correctly perform an iodine and/or DOP test
Prepare certificate
Consult skills sheet
Back

## DIV 34
Sheet DIV 34 Fire-damper installer
Processing technician - fireproof plates
Installation of fireproof plates in accordance with the relevant standards and taking account of the key components
Assess how well fireproof plates have been installed
Knowledge of how to use and process accompanying finishing and fixing equipment
Have knowledge of and be able to ensure correct use of fireproof equipment (hoisting, storage, etc.)
Fire-damper installer
Installing fire dampers in accordance with the relevant standards and taking account of the key components
Assess how well fire-dampers have been installed
Knowledge of how ventilation ducts work (equipment, sizes, etc.)
Have knowledge of and be able to ensure correct use of fire dampers
Knowledge of GA/QC concepts (e.g. LOFC, W-points, green card, etc.)
Prepare certificate
Consult skills sheet
Back

## DIV 35
Sheet DIV 35 Load handling
Load handling
Have knowledge of and be able to perform stabilisation techniques and work on facilities
Special techniques, handling heavy loads, tilting techniques
Prepare certificate
Consult skills sheet
Back

## DIV 36
Sheet DIV 36 Brazer
Brazer
Successfully produce a test piece
Know the basic materials and their brazability
Identify laying and assembly techniques for sheet metal and pipes
Visually inspect the condition of brazes and determine a repair process
Perform the planned brazing in compliance with the process
Knowthe risks associated with the operations
Know the health and safety rules and the personal protective equipment to be used (ventilation, wearing of mask, gloves, clothing, shoes, etc.)
Know the qualification rules for brazing and the validity limits of the procedure
Know the rules on validity, extension and renewal of certificates
Prepare certificate
Consult skills sheet
Back

## DIV 37
DIV 37 Draughtsman - special techniques
Draughtsman
Be able to read and understand drawings
Be familiar with the methods of graphic representation
Be able to record dimensions and outlines
Be familiar with the materials and machining methods used and the methods for indicating these on plans
Master AutoCAD design software (help functions, display control, entities, management of copies and basic properties, plan creation, blocks, images and external references, tools, management of drawings, printing)
Draughtsman - special techniques
Perform, interpret and produce reports on 3D scans
Prepare certificate
Consult skills sheet
Back

## DIV 38
Sheet DIV 38 Fitter - wall insulation/panelling
Fitter - wall insulation/panelling
Recognise insulation and cladding materials, as well as the associated tools: individual and collective equipment
Insulate pipes and simple equipment
Apply metal cladding to pipes, branch lines, brackets, simple equipment, etc.
Carry out simple surveying
Organise the work area during the site-preparation, assembly, dismantling and shutdown phases
Working from an aerial lift or drop scaffolding
Installing concrete anchors in seismic buildings
Working with insulation materials in the open air
Prepare certificate
Consult skills sheet
Back

## DIV 39
Sheet DIV 39 Diver
Diver
Operatives must be trained in accordance with Article 25 of Royal Decree 23/12/2013, and hold a professional divers' certificate and an aptitude certificate
Have knowledge of and be able to apply the relevant safety requirements and guidelines governing diving activities
Prepare certificate
Consult skills sheet
Back

## DIV 40
DIV 40 Industrial cleaneer using a high-pressure cleaner
Industrial cleaner using a high-pressure cleaner
Be able to read and apply instructions, operating instructions and procedures for pressure cleaning equipment, its supply (connection to water pipe) and in confined spaces
Be familiar with the equipment and be able to explain how it works
Know the risks involved in using the equipment and the associated safety rules and be able to apply the latter
Be able to check and clean the equipment (filters, oil level, etc.)
Inspect a high-pressure system
Knowledge of vacuum cleaning, including operation of trucks
Prepare certificate
Consult skills sheet
Back

## DIV 41
DIV 41 Fire-resistant passages - advanced
Fire-resistant passages
Select a method for making a fire-resistant passage
Identify and check the correct implementation of a fire-resistant passage
Understand and use factsheets on the integrity of fire-resistant passages
Use the checklists associated with the procedure
Advanced
Use and apply the relevant materials correctly
Prepare certificate
Consult skills sheet
Back